Connection of Controllable Generation to the Shetland distribution network

In order to allow SHEPD to fully assess the impact that controllable generation will have on their network in Shetland as part of the NINES trial, and in order for the connection to meet your requirements without creating any adverse effect on existing customers it is important to ensure the new connection is properly designed. In order to do this there is a need for information to be exchanged between you and SHEPD.  The Data Registration Code of the Distribution Code sets out the obligations on both you and SHEPD to exchange data as part of the design process and lists the data items that may need to be exchanged. As the controllability of your generation and the impact it may have on the stability of the Shetland distribution network needs particular attention this application form has been developed to simplify and clarify this data exchange requirements.

If you are also proposing to connect controllable demand at the same location please complete and return part 1b onwards of the demand application form .This Application Form is only for generation that is able to be constrained as part of the NINES trial in Shetland.

Part 1

This part collates the minimum initial data that SHEPD requires in order to carry out a feasibility study and provide an estimate of the likely connection costs. If any more detailed information is available at the time of application please include it in section 2 as it should allow us to provide a more comprehensive output from the feasibility study. As part of the network design and analysis we may require you to provide us with further information.

Part 2

In order to receive a formal connection offer the information in part 2 must be completed, in addition to the information provided in Part 1.

In some cases we will require further information which is not included in either part of the application form to complete the connection design.  We  will advise you if such additional information is required as soon as it comes to our attention.

Part 3

This section is only required for connections provided at High Voltage (11kV and above) for any transformers that you plan to install.

Guidance on completing this application form

The following section provides an overview of the information required to complete each part of the application form.

Part 1

This part of the application form enables you to provide:

- Contact details for you and your consultant (if you have one);

- The location of your power station and where you want us to provide the connection.  This should refer to the position where you want the meters (or substation) to be located, rather than the point you want us to extend our network from;

- Preferred connection point voltage refers to the operating voltage of the connection at the point of supply into your premises, rather than the operating voltage of the nearest part of our network;

- Number of phases required. Split phase refers to a 230-0-230 V connection and may provide a lower cost alternative than a 3 phase supply in some rural areas. It is important to make sure that your equipment can cater for this type of connection;

- Details of both the import and export requirements of your power station. It is important to make sure that you consider the import requirements for the generating station when it is not operating, or producing sufficient output to cater for its own power requirements. If you are planning to add load that is not directly related to the operation of the generation plant please also complete and return a Demand Application.

- Information about the fault level contribution from the generation plant at the site boundary, although you do not need to provide this information here if more detailed fault level information is provided in Part 1b of the application form.

- Your estimated annual energy production. This data will be treated in confidence and only used to enable us to carry out a constraint analysis and assessment of the volume of controllable demand that could be used to limit the constraints on the network.

- Minimum generator output refers to the minimum continuous power output the generation plant can sustain and remain operational (i.e. not zero). May be determined by generator characteristics or economical considerations.

Part 1c of the application form enables you to provide more detailed information on each of the generators you are applying to connect.  Slightly more information is required if the connection is likely to be at high voltage rather than at low voltage.  If the generation plant you are looking to connect is larger than 150kW you should assume that your site may be connected at high voltage.

Part 2 of the application form enables you to provide detailed technical information about the generation plant you are applying to connect. It is split into four sections that relate to particular types of generating plant designs.  You only need to complete the section relating to the type of generating plant that you are applying to connect i.e. Part 2a, 2b, 2c or 2d.  Use one form for each type of generating plant.

If there are any items on the application form that you are unsure about, it would be worth contacting the company you are arranging to buy your generation plant from as they should be able to provide some of the more technical information.  If you are unable to provide some of the technical details for example if you have not yet decided who to buy your generation plant from, you can provide estimated data provided that you clearly indicate on the application form which data is estimated.  You will need to confirm this data as soon as possible and always before the generator is commissioned.

Please write N/A, or NONE in all sections that do not apply.

--------------------------------- PART 1a ----------------------------------

Applicant’s Details

| Company Name. | _______________________________ |
| --- | --- |
| Company registered No. | _______________________________ |
| Postal Address. | _______________________________ |
|  | _______________________________ |
|  | _______________________________ |
|  | _______________________________ |
|  | _______________________________ |
| Contact Name. | _______________________________ |
| Email Address. | _______________________________ |
| Daytime Telephone No. | _______________________________ |
| Fax No. | _______________________________ |

Consultant’s Details (if applicable)

| Consultants Name. | ____________________________ |
| --- | --- |
| Postal Address. | ____________________________ |
|  | ____________________________ |
|  | ____________________________ |
|  | ____________________________ |
|  | ____________________________ |
| Contact Name. | ____________________________ |
| Email Address. | ____________________________ |
| Telephone No. | ____________________________ |
| Fax No. | ____________________________ |

---------------------------------- PART 1b ---------------------------------

Power station location and operation

| Power Station Name. | _______________________________ |
| --- | --- |
| Postal Address or site boundary plan (1:500). | _______________________________ |
|  | _______________________________ |
|  | _______________________________ |
|  | _______________________________ |
| Details of any existing Connection Agreements. | _______________________________ |
|  | _______________________________ |
|  | _______________________________ |
|  | _______________________________ |
| Target date for provision of connection. | _______________________________ |

| Connection Point i.e. Location of metering equipment (OS grid ref or description). | _______________________________ |
| --- | --- |
|  | _______________________________ |
|  | _______________________________ |
|  | _______________________________ |
| No. of Electricity Connection Required. | _______________________________ |
| Preferred connection point voltage. | _____________________________V |
| Number of Phases (delete as required). | Single, Split, or Three |
| No. of generation sets in Power Station? | ________________________ ___ |
| Are all generation sets of the same design/rating? | ___________ _________ ___ Y/N |
| Will the power station operate in island mode? | ____________________________Y/N |
| Will the generation plant also supply electricity to on-site premises? | ____________________________Y/N (if Y please also complete & return a demand application form) |
| Minimum continuous power output generator can sustain. | ____________________________kW |
| Estimated Annual Production if unconstrained. | __________________________kWHr |
| Single line diagram of any on-site existing or proposed electrical plant or, where available, operation diagrams. | Please attach |

---------------------------------- PART 1b ---------------------------------Power station standby import requirements (see note B1)

| Maximum active power import. | ____________________________MW |
| --- | --- |
| Maximum reactive power import (lagging). | ___________________________MVAr |
| Maximum reactive power export (leading). | ___________________________MVAr |

Power station top-up import requirements (see note B2)

| Maximum active power import. | ____________________________MW |
| --- | --- |
| Maximum reactive power import (lagging). | ___________________________MVAr |
| Maximum reactive power export (leading). | ___________________________MVAr |

Power station export requirements (see note B3):

Total power station output at registered capacity (net of auxiliary loads)

| Registered capacity (maximum active power export). | ______________________MW |
| --- | --- |
| Maximum reactive power export (lagging). | ______________________MVAr |
| Maximum reactive power import (leading). | ______________________MVAr |

Power station maximum fault current contribution (see note B4)

| Peak asymmetrical short circuit current at 10ms (ip) for a 3φ short circuit fault at the connection point. | ___________________kA |
| --- | --- |
| RMS value of the initial symmetrical short circuit current (Ik”) for a 3φ short circuit fault at the connection point. | ___________________kA |
| RMS value of the symmetrical short circuit current at 100ms (Ik(100)) for a 3φ short circuit fault at the connection point. | ___________________kA |

Power station interface arrangements (see note B5)

| Means of connection, disconnection and synchronising between SSEPD and the Customer. | ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ |
| --- | --- |

Note B1 – This section relates to operating conditions when the power station is importing active power, typically when it is not generating. The maximum active power import requirement and the associated maximum reactive power import and/or export requirements should be stated.

Note B2 - This section relates to operating conditions when the power station is importing active power, typically when it is generating, but is not generating sufficient power to cater for all the on-site demand.

Note B3 – This section relates to operating conditions when the power station is exporting active power.  The active power export and associated maximum reactive power export and/or import should be stated for operation at registered capacity.

Note B4 - See Engineering Recommendation G74, ETR 120 and IEC 60909 for guidance on fault current data.  Additionally, fault current contribution data may be provided in the form of detailed graphs, waveforms and/or tables.  This information need not be provided where detailed fault level contribution / impedance data is provided for each Generation Set in Part 1b or Part 2 of this application form.

Note B5 - The interface arrangements need to be agreed and implemented between the User and SSEPD before energisation. DPC7.3.1 of the Distribution Code refers.

--------------------------------- PART 1c ----------------------------------

Generation set general data

| Number of generation sets to which this data applies. | _________________________ |
| --- | --- |
| Type of generation set (please tick box). |  |
|  | Synchronous generator □ |
|  | Fixed speed induction generator □ |
|  | Double fed induction generator □ |
|  | Series converter / inverter connected generator □ |
|  | Other (provide details) □ |
|  | ________________________________ |
|  | ________________________________ |
| Type of prime mover. | ________________________________ |
|  | ________________________________ |
| Operating regime (see note C1). Please tick box. | Intermittent □ Non-intermittent □ |

Generation set Active Power capability

| Rated terminal voltage (generator). | _____________V |
| --- | --- |
| Rated terminal current (generator). | _____________A |
| Generation set registered capacity (net). | ___________MW |
| Generation set apparent power rating (to be used as base for generator parameters). | ___________MVA |
| Generation set rated active power (gross at generator terminals). | ___________MW |

Generation set Reactive Power capability at rated Active Power (gross, at generator terminals)

| Maximum reactive power export (lagging). For HV connected generators only. | __________MVAr |
| --- | --- |
| Maximum reactive power import (leading). For HV connected generators only. | __________MVAr |

Generation set maximum fault current contribution (see note C2)

| Peak asymmetrical short circuit current at 10ms (ip) for a 3φ short circuit fault at the generation set terminals (HV connected generators only). | __________kA |
| --- | --- |
| RMS value of the initial symmetrical short circuit current (Ik”) for a 3φ short circuit fault at the generation set terminals (HV connected only). | __________kA |
| RMS value of the symmetrical short circuit current at 100ms (Ik(100)) for a 3φ short circuit fault at the generation set terminals. | __________kA |

--------------------------------- PART 1c ----------------------------------

Generation set Operational Parameters (see note C3)

| Block Diagram and description of generation plant Voltage Control System. | Please attach. (include details of operating range, response times, etc) |
| --- | --- |
| Block Diagram and description of any export limiting Control System. | Please attach |
| Does, or can the generation plant have any Fault Ride through capabilities. | ____________________________Y/N (if Y please attach Voltage/Time graph) |
| Is the generation plant able to operate in Frequency Response mode. | ____________________________Y/N (if Y please attach diagram showing capabilities) |

Note C1 – Intermittent and Non-intermittent Generation is defined in Engineering Recommendation P2/6 as follows: Intermittent Generation: Generation plant where the energy source for the prime mover can not be made available on demand. Non-intermittent Generation: Generation plant where the energy source for the prime mover can be made available on demand.

Note C2 - See Engineering Recommendation G74, ETR 120 and IEC 60909 for guidance on fault current data.  Additionally, fault current contribution data may be provided in the form of detailed graphs, waveforms and/or tables.

Note C3 -  The Customer  may be asked to get their chosen generator manufacturer to provide SHEPD with a dynamic model of the proposed generator and associated control systems in a format that is compatible with the PSS/E suite of software. This data will be used to model the stability of the generator.

------------------------------------------------------------------------------------- PART 2a -----------------------------------------------------------------------------

Generation set model data: Synchronous generation sets (or equivalent synchronous generation sets)

| Generation set identifier. | ___________________ | ___________________ | ___________________ |
| --- | --- | --- | --- |
| Type of generation set (wound rotor, salient pole or asynchronous equivalent). See note 2A1 | _________________________________________________________ | _________________________________________________________ | _________________________________________________________ |
| Positive sequence (armature) resistance. | ___________per unit | ___________per unit | ___________per unit |
| Inertia constant (generation set and prime mover). | ________MWsec/MVA | ________MWsec/MVA | ________MWsec/MVA |
| Direct axis resistances: |  |  |  |
| Sub-transient (X”d) – unsaturated / saturated. | ___________per unit | ___________per unit | ___________per unit |
| Transient (X’d) – unsaturated / saturated. | ____________per unit | ____________per unit | ____________per unit |
| Synchronous (Xd) – unsaturated / saturated. | ___________per unit | ___________per unit | ___________per unit |
| Time constants: |  |  |  |
| State whether time constants are open or short circuit. | ___________________ | ___________________ | ___________________ |
| D-axis sub-transient – unsaturated / saturated. | __________________s | __________________s | __________________s |
| D-axis transient – unsaturated / saturated. | __________________s | __________________s | __________________s |

Note 2A1 – Asynchronous generators may be represented by an equivalent synchronous generator data set

------------------------------------------------------------------------------------- PART 2b -----------------------------------------------------------------------------

Generation set model data: Fixed speed induction generation sets (see notes 2B1 and 2B2)

| Generation set identifier. | ___________________ | ___________________ | ___________________ |
| --- | --- | --- | --- |
| Magnetising reactance. | ___________per unit | ___________per unit | ___________per unit |
| Stator resistance. | ___________per unit | ___________per unit | ___________per unit |
| Stator reactance. | ___________per unit | ___________per unit | ___________per unit |
| Inner cage or running rotor resistance | ___________per unit | ___________per unit | ___________per unit |
| Outer cage or standstill rotor reactance | ___________per unit | ___________per unit | ___________per unit |
| State whether data is inner-outer cage or running-standstill. | __________________________________________ | __________________________________________ | __________________________________________ |
| Total effective inertia constant (generator and prime mover). | ___________MWsec/MVA | ___________MWsec/MVA | ___________MWsec/MVA |
| Shunt capacitance connected in parallel at % of rated output: |  |  |  |
| Starting | __________kVAr or graph | __________kVAr or graph | __________kVAr or graph |
| 20% | __________kVAr or graph | __________kVAr or graph | __________kVAr or graph |
| 40% | __________kVAr or graph | __________kVAr or graph | __________kVAr or graph |
| 60% | __________kVAr or graph | __________kVAr or graph | __________kVAr or graph |
| 80% | __________kVAr or graph | __________kVAr or graph | __________kVAr or graph |
| 100% | __________kVAr or graph | __________kVAr or graph | __________kVAr or graph |
| Active power and reactive power import during start-up. | ____________MW-MVAr / time graphs | ____________MW-MVAr / time graphs | ____________MW-MVAr / time graphs |
| Active power and reactive power import during switching operations e.g. ‘6 to 4 pole’ change-over. | ____________MW-MVAr / time graphs | ____________MW-MVAr / time graphs | ____________MW-MVAr / time graphs |
| Under voltage protection setting & time delay. | _______ puV ______ secs | _______ puV ______ secs | _______ puV ______ secs |
| Slip at rated output . | _________________% | _________________% | _________________% |

Note 2B1 – Asynchronous generators may be represented by an equivalent synchronous data set

Note 2B2 – You will need to provide the above data for each asynchronous generation set based on the number of pole sets (i.e. two data sets for dual speed 4/6 pole machines)

------------------------------------------------------------------------------------- PART 2c -----------------------------------------------------------------------------

Generation set model data: Doubly fed induction generation sets

| Generation set identifier. | ___________________ | ___________________ | ___________________ |
| --- | --- | --- | --- |
| Generation set maximum fault current contribution data (see note 2C1). |  |  |  |
| Magnetising reactance. | ___________per unit | ___________per unit | ___________per unit |
| Stator resistance. | ____________per unit | ____________per unit | ____________per unit |
| Stator reactance. | ___________per unit | ___________per unit | ___________per unit |
| Running rotor resistance. | ___________per unit | ___________per unit | ___________per unit |
| Running rotor reactance. | ___________per unit | ___________per unit | ___________per unit |
| Standstill rotor resistance. | ___________per unit | ___________per unit | ___________per unit |
| Standstill rotor reactance. | ___________per unit | ___________per unit | ___________per unit |
| State whether data is inner-outer cage or running-standstill. | ___________________ ___________________ | ___________________ ___________________ | ___________________ ___________________ |

| Generator rotor speed range – Minimum to rated speed. | ________________rpm | ________________rpm | ________________rpm |
| --- | --- | --- | --- |
| Total effective inertia constant at rated speed (generator and prime mover). | ________MWsec/MVA | ________MWsec/MVA | ________MWsec/MVA |

Note 2C1 – Fault current contribution data should be provided in Part 1c of this application form

------------------------------------------------------------------------------------- PART 2d -----------------------------------------------------------------------------

Generation set model data: Series converter / inverter connected generation sets

| Generation set identifier. | ___________________ | ___________________ | ___________________ |
| --- | --- | --- | --- |
| Generation set maximum fault current contribution data (see note 2D1). |  |  |  |
| Generator rotor speed range. | ________________rpm | ________________rpm | ________________rpm |
| Total effective inertia constant (generator and prime mover). | ________MWsec/MVA | ________MWsec/MVA | ________MWsec/MVA |

Note 2D1 – Fault current contribution data should be provided in Part 1c of this application form

---------------------------------- PART 3 ---------------------------------

Transformer information

| Transformer identifier. | __________________________________________________ |
| --- | --- |
| Transformer type (Unit/Station/Auxiliary). | __________________________________________________ |
| Number of identical units. | _________________________ |
| Type of cooling. | ___________________________________________________________________________ |
| Rated (apparent) power. | _____________________MVA |
| Rated voltage ratio (on principal tap). | _____________________kV/kV |
| Positive sequence resistance (HV connected only). | ___________________per unit |
| Positive sequence reactance at principal tap. | ___________________per unit |
| Winding configuration (e.g. Dyn11). | __________________________________________________ |
| Type of tap changer (on load / off circuit). | __________________________________________________ |
| Tap step size. | ________________________% |
| Method of earthing of high-voltage winding. | ____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ |
| Method of earthing of low-voltage winding. | ____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ |

| Maximum ratio tap. | ________________________% |
| --- | --- |
| Minimum ratio tap. | ________________________% |
| Method of voltage control (Details of settings, dead-band & associated time delays, etc if automatic). | ___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ |

---------------------------------- PART 3 ---------------------------------